## PV Calcs
|  |  |  | Design 1 | 1.44kW | [15 empty] | Design 2 | 5.52kW | [10 empty] | Design 3 | 11.8kW
|  |  |  | ESTIMATIONS FROM GREENMATCH |  |  |  | Solar installation | [12 empty] | ESTIMATIONS FROM GREENMATCH |  |  |  | Solar installation | [7 empty] | ESTIMATIONS FROM GREENMATCH |  | Solar installation
|  |  |  | Annual production |  |  |  | days in year | [12 empty] | Annual production |  |  |  | days in year | [7 empty] | Annual production |  | days in year
|  |  |  | 1.188 | MWh |  |  | 365 | [12 empty] | 4.548 | MWh |  |  | 365 | [7 empty] | 9.753 | MWh | 365
|  |  |  | 1188 | kWh |  |  | annual standing charge fee |  |  | usage - production |  | annual unit rate | [7 empty] | 4548 | kWh |  |  | annual standing charge fee |  | usage - production |  | annual unit rate |  |  |  | 9753 | kWh | annual standing charge fee |  | usage - production |  | annual unit rate
|  |  |  | Model |  |  |  | 8395 | pence |  | 4982 | kWh | 104622 | pence | [6 empty] | Model |  |  |  | 8395 | pence | 1622 | kWh | 34062 | pence |  |  | Model |  | 8395 | pence | -3583 | kWh | -75243 | pence
|  |  |  | HIT Power 240S (Panasonic) |  |  |  | 83.95 | pounds |  |  |  | 1046.22 | pounds | [6 empty] | HIT Power 240S (Panasonic) |  |  |  | 83.95 | pounds |  |  | 340.62 | pounds |  |  | HIT Power 240S (Panasonic) |  | 83.95 | pounds |  |  | -752.43 | pounds
|  |  |  | No. panels |  |  |  | annual electrcity cost with solar installed | [12 empty] | No. panels |  |  |  | annual electrcity cost with solar installed | [7 empty] | No. panels |  | annual electrcity cost with solar installed
|  |  |  | 6 |  |  |  | 1130.17 | pounds | [11 empty] | 23 |  |  |  | 424.57 | pounds | [6 empty] | 49 |  | -668.48 | pounds
|  |  |  | Cost of installation |  |  |  | gross costs = Gross cost – upfront incentives | [12 empty] | Cost of installation |  |  |  | gross costs = Gross cost – upfront incentives | [7 empty] | Cost of installation |  | gross costs = Gross cost – upfront incentives
|  |  |  | 2500 | pounds |  |  | 2500 | pounds | [11 empty] | 8250 | pounds |  |  | 8250 | pounds | [6 empty] | 17000 | pounds | 17000 | pounds
|  |  |  | Usage |  |  |  | annual ele cost | [8 empty] | Solar + battery |  |  |  | Usage |  |  |  | annual ele cost | [5 empty] | Solar + battery |  | Usage |  | annual ele cost | [5 empty] | Solar + battery
|  |  |  | 6170 | kWh |  |  | 1379.65 | pounds | [7 empty] | With battery gross cost: |  |  |  | 6170 | kWh |  |  | 1379.65 | pounds |  |  |  |  | With battery gross cost: |  | 6170 | kWh | 1379.65 | pounds |  |  |  |  | With battery gross cost:
|  |  |  | Battery cost |  |  |  | annual benefits = Avoided annual electricity costs + annual incentives | [8 empty] | 5500 | pounds |  |  | Battery cost |  |  |  | annual benefits = Avoided annual electricity costs + annual incentives | [5 empty] | 11250 | pounds | Battery cost |  | annual benefits = Avoided annual electricity costs + annual incentives | [5 empty] | 20000 | pounds
|  |  |  | 3000 | pounds |  |  | 249.48 | pounds | [7 empty] | Payback with battery: |  |  |  | 3000 | pounds |  |  | 955.08 | pounds |  |  |  |  | Payback with battery: |  | 3000 | pounds | 2048.13 | pounds |  |  |  |  | Payback with battery:
|  |  |  | Ele unit rate |  |  |  | Gross costs / annual benefits = solar payback period (years) | [8 empty] | 22.0459 | years |  |  | Ele unit rate |  |  |  | Gross costs / annual benefits = solar payback period (years) | [5 empty] | 11.7791 | years | Ele unit rate |  | Gross costs / annual benefits = solar payback period (years) | [5 empty] | 9.765 | years
|  |  |  | 21 | p |  |  | 10.0208 | [12 empty] | 21 | p |  |  | 8.638 | [7 empty] | 21 | p | 8.3003
|  |  |  | Ele standing charge | [16 empty] | Ele standing charge | [11 empty] | Ele standing charge
|  |  |  | 23 | p | [15 empty] | 23 | p | [10 empty] | 23 | p
|  |  |  | Selling rate | [16 empty] | Selling rate | [11 empty] | Selling rate
|  |  |  | 3.5 | p/kWh |  |  | pre solar |  |  |  | wholesale | [8 empty] | 3.5 | p/kWh |  |  | pre solar |  |  | wholesale |  |  |  |  | 3.5 | p/kWh | pre solar |  |  | wholesale
[8 empty] | annual unit rate |  |  |  | Annual revenue | [12 empty] | annual unit rate |  |  | Annual revenue | [6 empty] | annual unit rate |  |  | Annual revenue
[8 empty] | 129570 | pence |  |  | 4158 | p/kWh | [11 empty] | 129570 | pence |  | 15918 | p/kWh | [5 empty] | 129570 | pence |  | 34135.5 | p/kWh
[8 empty] | 1295.7 | pounds |  |  | 41.58 | £/kWh | [11 empty] | 1295.7 | pounds |  | 159.18 | £/kWh | [5 empty] | 1295.7 | pounds |  | 341.355 | £/kWh
[8 empty] | Total annual ele rate | [16 empty] | Total annual ele rate | [9 empty] | Total annual ele rate
[8 empty] | 2675.35 | [16 empty] | 2675.35 | [9 empty] | 2675.35
Design 2
Design 1 | 27.8kW
[15 empty] | ESTIMATIONS FROM GREENMATCH |  |  |  | Solar installation
ESTIMATIONS FROM GREENMATCH |  | Solar installation | [12 empty] | Annual production |  |  |  | days in year
Annual production |  | days in year | [12 empty] | 49.87 | MWh |  |  | 365
23.65 | MWh | 365 | [12 empty] | 49870 | kWh |  |  | annual standing charge fee |  |  | usage - production |  | annual unit rate
23650 | kWh | annual standing charge fee |  | usage - production |  | annual unit rate | [8 empty] | Model |  |  |  | 8395 | pence |  | -45670 | kWh | -959070 | pence
Model |  | 8395 | pence | -19450 | kWh | -408450 | pence | [7 empty] | HIT Power 240S (Panasonic) |  |  |  | 83.95 | pounds |  |  |  | -9590.7 | pounds
HIT Power 240S (Panasonic) |  | 83.95 | pounds |  |  | -4084.5 | pounds | [7 empty] | No. panels |  |  |  | annual electrcity cost with solar installed
No. panels |  | annual electrcity cost with solar installed | [12 empty] | 244 |  |  |  | -9506.75 | pounds
116 |  | -4000.55 | pounds | [11 empty] | Cost of installation |  |  |  | gross costs = Gross cost – upfront incentives
Cost of installation |  | gross costs = Gross cost – upfront incentives | [12 empty] | 87000 | pounds |  |  | 87000 | pounds
42000 | pounds | 42000 | pounds | [11 empty] | Usage |  |  |  | annual ele cost | [7 empty] | Solar + battery
Usage |  | annual ele cost | [7 empty] | Solar + battery |  |  |  |  | 4200 | kWh |  |  | 965.95 | pounds | [6 empty] | With battery gross cost:
4200 | kWh | 965.95 | pounds | [6 empty] | With battery gross cost: |  |  |  |  | Battery cost |  |  |  | annual benefits = Avoided annual electricity costs + annual incentives | [7 empty] | 90000 | pounds
Battery cost |  | annual benefits = Avoided annual electricity costs + annual incentives | [7 empty] | 45000 | pounds |  |  |  | 3000 | pounds |  |  | 10472.7 | pounds | [6 empty] | Payback with battery:
3000 | pounds | 4966.5 | pounds | [6 empty] | Payback with battery: |  |  |  |  | Ele unit rate |  |  |  | Gross costs / annual benefits = solar payback period (years) | [7 empty] | 8.5938 | years
Ele unit rate |  | Gross costs / annual benefits = solar payback period (years) | [7 empty] | 9.0607 | years |  |  |  | 21 | p |  |  | 8.3073
21 | p | 8.4567 | [12 empty] | Ele standing charge
Ele standing charge | [14 empty] | 23 | p
23 | p | [13 empty] | Selling rate
Selling rate | [14 empty] | 3.5 | p/kWh |  |  | pre solar |  |  |  | wholesale
3.5 | p/kWh | pre solar |  |  | wholesale | [13 empty] | annual unit rate |  |  |  | Annual revenue
|  | annual unit rate |  |  | Annual revenue | [13 empty] | 88200 | pence |  |  | 174545 | p/kWh
|  | 88200 | pence |  | 82775 | p/kWh | [12 empty] | 882 | pounds |  |  | 1745.45 | £/kWh
|  | 882 | pounds |  | 827.75 | £/kWh | [12 empty] | Total annual ele rate
|  | Total annual ele rate | [16 empty] | 1847.95
1847.95